Quarterly Maintenance Report

This report summarises the maintenance work carried out on the pumping stations during the third quarter.

All stations were inspected twice, and every valve was tested under full load.

Completed work

Replaced the worn bearings in the east station pump.

Repainted the control cabinets at the north and south stations.

Calibrated the level sensors and recorded the new offsets.

Station readings

| Station | Flow rate | Pressure |
| --- | --- | --- |
| East | 420 litres per second | 6.1 bar |
| North | 380 litres per second | 5.8 bar |
| South | 405 litres per second | 6.0 bar |

The next inspection is planned for the first week of January.